## Raw Reeds
Year | Base Case | Base Case | Low-RE-Cost-HighElectrification | Low-RE-Cost-HighElectrification
Year | Rooftop PV_GW | Utility PV_GW | Rooftop PV_GW | Utility PV_GW
2018 | 16.2587 | 41.0767 | 16.7956 | 37.1287
2020 | 19.6735 | 51.2685 | 20.9084 | 62.7384
2022 | 23.1766 | 75.015 | 25.7927 | 99.6165
2024 | 26.2911 | 89.4751 | 30.9351 | 134.7331
2026 | 30.0894 | 100.957 | 37.5263 | 161.8211
2028 | 34.8543 | 125.2357 | 45.875 | 207.3324
2030 | 40.5432 | 160.197 | 56.1317 | 290.5056
2032 | 46.1889 | 198.954 | 67.4925 | 403.3315
2034 | 51.7662 | 223.4272 | 80.4804 | 485.1609
2036 | 57.3595 | 236.8445 | 95.3222 | 524.5654
2038 | 63.6797 | 248.957 | 111.4442 | 582.116
2040 | 69.764 | 289.6426 | 127.6043 | 593.8791
2042 | 74.5265 | 303.5859 | 139.2369 | 639.2922
2044 | 78.8132 | 336.1015 | 148.0888 | 682.9833
2046 | 82.8628 | 361.9971 | 155.3321 | 741.4079
2048 | 86.4883 | 399.1392 | 161.522 | 823.1341
2050 | 89.7893 | 452.9777 | 167.2119 | 907.7528

## new installs PV
AC to DC Ratio | 1.1 | 1.3
Year | Base Case | Base Case | Low-RE-Cost-HighElectrification | Low-RE-Cost-HighElectrification | New Installs with AC DC RAtio |  | OFF YEARS |  |  | COPY PASTE |  |  |  | NEW INSTALLS PV, considering Market Share
Year | Rooftop PV_GW | Utility PV_GW | Rooftop PV_GW | Utility PV_GW | Reference_GW | High Electrification_GW | Year | Reference_GW | High Electrification_GW |  | Reference_GW | High Electrification_GW | Year | Reference [MW] | High Electrification [MW] |  | Comparison from Rawish data |  |  |  | PV ICE [MW] | EF [MW] | SFS [MW]
2018 | 16.2587 | 41.0767 | 16.7956 | 37.1287 | 71.2843 | 66.7424 |  |  |  | 2018 | 71.2843 | 66.7424 | 2018 | 60591.6443 | 56731.0742 | CUMULATIVE UNTIL 2018 | PV ICE module baseline | 53767.2597 | MW Cumulative Installs to 2018 | 1995 | 12.5 | 12.5 | 12.5
2020 | 19.6735 | 51.2685 | 20.9084 | 62.7384 | 17.0056 | 37.8168 | 2019 | 17.0056 | 37.8168 | 2019 | 17.0056 | 37.8168 | 2019 | 14454.7704 | 32144.3012 | OUTDATED | Reference EF | 57335.4025 | MW Cumulative Installs to 2018 (initial value) | 1996 | 9.6677 | 9.6677 | 9.6677
2022 | 23.1766 | 75.015 | 25.7927 | 99.6165 | 34.7238 | 53.3142 | 2021 | 34.7238 | 53.3142 | 2020 | 17.0056 | 37.8168 | 2020 | 14454.7704 | 32144.3012 | USED IN 2021 EF BAseline | SFS Reference.Mod | 53783.9599 | MW Cumulative Installs to 2018 | 1997 | 11.622 | 11.622 | 11.622
2024 | 26.2911 | 89.4751 | 30.9351 | 134.7331 | 22.2241 | 51.3083 | 2023 | 22.2241 | 51.3083 | 2021 | 34.7238 | 53.3142 | 2021 | 29515.261 | 45317.0369 |  |  |  |  | 1998 | 11.781 | 11.781 | 11.781
2026 | 30.0894 | 100.957 | 37.5263 | 161.8211 | 19.1046 | 42.4647 | 2025 | 19.1046 | 42.4647 | 2022 | 34.7238 | 53.3142 | 2022 | 29515.261 | 45317.0369 |  | PV ICE module baseline | 2293.0413 | MW Cumulative Installs to 2010 | 1999 | 16.8847 | 16.8847 | 16.8847
2028 | 34.8543 | 125.2357 | 45.875 | 207.3324 | 36.8037 | 68.3481 | 2027 | 36.8037 | 68.3481 | 2023 | 22.2241 | 51.3083 | 2023 | 18890.5126 | 43612.0562 |  | SFS Reference.Mod | 1200.6513 | MW Cumulative Installs to 2010 (initial value) | 2000 | 20.9267 | 20.9267 | 20.9267
2030 | 40.5432 | 160.197 | 56.1317 | 290.5056 | 51.7074 | 119.4076 | 2029 | 51.7074 | 119.4076 | 2024 | 22.2241 | 51.3083 | 2024 | 18890.5126 | 43612.0562 |  |  |  |  | 2001 | 27.985 | 27.985 | 27.985
2032 | 46.1889 | 198.954 | 67.4925 | 403.3315 | 56.5945 | 159.1706 | 2031 | 56.5945 | 159.1706 | 2025 | 19.1046 | 42.4647 | 2025 | 16238.8798 | 36095.0155 |  |  |  |  | 2002 | 42.476 | 42.476 | 42.476
2034 | 51.7662 | 223.4272 | 80.4804 | 485.1609 | 37.9501 | 120.6649 | 2033 | 37.9501 | 120.6649 | 2026 | 19.1046 | 42.4647 | 2026 | 16238.8798 | 36095.0155 |  |  |  |  | 2003 | 59.745 | 59.745 | 59.745
2036 | 57.3595 | 236.8445 | 95.3222 | 524.5654 | 23.5951 | 67.5519 | 2035 | 23.5951 | 67.5519 | 2027 | 36.8037 | 68.3481 | 2027 | 31283.1595 | 58095.9089 |  |  |  |  | 2004 | 94.752 | 94.752 | 94.752
2038 | 63.6797 | 248.957 | 111.4442 | 582.116 | 22.6985 | 92.55 | 2037 | 22.6985 | 92.55 | 2028 | 36.8037 | 68.3481 | 2028 | 31283.1595 | 58095.9089 |  |  |  |  | 2005 | 96.5812 | 96.5812 | 96.5812
2040 | 69.764 | 289.6426 | 127.6043 | 593.8791 | 59.584 | 33.0681 | 2039 | 59.584 | 33.0681 | 2029 | 51.7074 | 119.4076 | 2029 | 43951.2714 | 101496.4255 |  |  |  |  | 2006 | 98.2131 | 98.2131 | 98.2131
2042 | 74.5265 | 303.5859 | 139.2369 | 639.2922 | 23.3651 | 71.833 | 2041 | 23.3651 | 71.833 | 2030 | 51.7074 | 119.4076 | 2030 | 43951.2714 | 101496.4255 |  |  |  |  | 2007 | 324.2327 | 324.2327 | 324.2327
2044 | 78.8132 | 336.1015 | 148.0888 | 682.9833 | 46.9856 | 66.5355 | 2043 | 46.9856 | 66.5355 | 2031 | 56.5945 | 159.1706 | 2031 | 48105.3043 | 135294.9763 |  |  |  |  | 2008 | 314.5851 | 314.5851 | 314.5851
2046 | 82.8628 | 361.9971 | 155.3321 | 741.4079 | 38.1187 | 83.9197 | 2045 | 38.1187 | 83.9197 | 2032 | 56.5945 | 159.1706 | 2032 | 48105.3043 | 135294.9763 |  |  |  |  | 2009 | 431.2448 | 431.2448 | 431.2448
2048 | 86.4883 | 399.1392 | 161.522 | 823.1341 | 52.2729 | 113.053 | 2047 | 52.2729 | 113.053 | 2033 | 37.9501 | 120.6649 | 2033 | 32257.6274 | 102565.1296 |  |  |  |  | 2010 | 719.8444 | 719.8444 | 719.8444
2050 | 89.7893 | 452.9777 | 167.2119 | 907.7528 | 73.6211 | 116.2632 | 2049 | 73.6211 | 116.2632 | 2034 | 37.9501 | 120.6649 | 2034 | 32257.6274 | 102565.1296 |  |  |  |  | 2011 | 1781.3771 | 1781.3771 | 2534.3001
[10 empty] | 2035 | 23.5951 | 67.5519 | 2035 | 20055.8429 | 57419.0997 |  |  |  |  | 2012 | 3064.1623 | 3064.1623 | 2534.3001
[10 empty] | 2036 | 23.5951 | 67.5519 | 2036 | 20055.8429 | 57419.0997 |  |  |  |  | 2013 | 4037.4491 | 4037.4491 | 5123.0337
[10 empty] | 2037 | 22.6985 | 92.55 | 2037 | 19293.6981 | 78667.4724 |  |  |  |  | 2014 | 3722.1995 | 3722.1995 | 5123.0337
[10 empty] | 2038 | 22.6985 | 92.55 | 2038 | 19293.6981 | 78667.4724 |  |  |  |  | 2015 | 6834.3288 | 6834.3288 | 9477.5373
[10 empty] | 2039 | 59.584 | 33.0681 | 2039 | 50646.4277 | 28107.8936 |  |  |  |  | 2016 | 12897.666 | 12897.666 | 9477.5373
[10 empty] | 2040 | 59.584 | 33.0681 | 2040 | 50646.4277 | 28107.8936 |  |  |  |  | 2017 | 9784.5062 | 9784.5062 | 9156.7831
[10 empty] | 2041 | 23.3651 | 71.833 | 2041 | 19860.3691 | 61058.0169 |  |  |  |  | 2018 | 9352.5294 | 9352.5294 | 9156.7831
[10 empty] | 2042 | 23.3651 | 71.833 | 2042 | 19860.3691 | 61058.0169 |  |  |  |  | 2019 | 10949.7823 | 10949.7823 | 16904.8149
[10 empty] | 2043 | 46.9856 | 66.5355 | 2043 | 39937.784 | 56555.1398 |  |  |  |  | 2020 | 14903.79 | 14454.7704 | 16904.8149
[10 empty] | 2044 | 46.9856 | 66.5355 | 2044 | 39937.784 | 56555.1398 |  |  |  |  | 2021 | 16455.56 | 29515.261 | 4479.8337
[10 empty] | 2045 | 38.1187 | 83.9197 | 2045 | 32400.9143 | 71331.7592 |  |  |  |  | 2022 | 15227.23 | 29515.261 | 4479.8337
[10 empty] | 2046 | 38.1187 | 83.9197 | 2046 | 32400.9143 | 71331.7592 |  |  |  |  | 2023 | 15224.02 | 18890.5126 | 13634.5897
[10 empty] | 2047 | 52.2729 | 113.053 | 2047 | 44431.9397 | 96095.0077 |  |  |  |  | 2024 | 16634.43 | 18890.5126 | 13634.5897
[10 empty] | 2048 | 52.2729 | 113.053 | 2048 | 44431.9397 | 96095.0077 |  |  |  |  | 2025 | 18114.8943 | 16238.8798 | 28006.3247
[10 empty] | 2049 | 73.6211 | 116.2632 | 2049 | 62577.8999 | 98823.6879 |  |  |  |  | 2026 | 19727.1199 | 16238.8798 | 28006.3247
[10 empty] | 2050 | 73.6211 | 116.2632 | 2050 | 62577.8999 | 98823.6879 |  |  |  |  | 2027 | 21482.8335 | 31283.1595 | 26628.1404
[20 empty] | 2028 | 23394.8057 | 31283.1595 | 26628.1404
[20 empty] | 2029 | 25476.9434 | 43951.2714 | 44459.7512
[20 empty] | 2030 | 27744.3914 | 43951.2714 | 44459.7512
[20 empty] | 2031 | 30213.6422 | 48105.3043 | 12957.1874
[20 empty] | 2032 | 32902.6564 | 48105.3043 | 12957.1874
[20 empty] | 2033 | 35830.9928 | 32257.6274 | 11610.6885
[20 empty] | 2034 | 39019.9512 | 32257.6274 | 11610.6885
[20 empty] | 2035 | 42492.7268 | 20055.8429 | 12365.7541
[20 empty] | 2036 | 46274.5795 | 20055.8429 | 12365.7541
[20 empty] | 2037 | 50393.0171 | 19293.6981 | 21040.8846
[20 empty] | 2038 | 54877.9956 | 19293.6981 | 21040.8846
[20 empty] | 2039 | 59762.1372 | 50646.4277 | 20625.094
[20 empty] | 2040 | 65080.9674 | 50646.4277 | 20625.094
[20 empty] | 2041 | 70873.1735 | 19860.3691 | 18778.5343
[20 empty] | 2042 | 77180.8859 | 19860.3691 | 18778.5343
[20 empty] | 2043 | 84049.9848 | 39937.784 | 34424.3613
[20 empty] | 2044 | 91530.4334 | 39937.784 | 34424.3613
[20 empty] | 2045 | 99676.642 | 32400.9143 | 26837.6727
[20 empty] | 2046 | 108547.8631 | 32400.9143 | 26837.6727
[20 empty] | 2047 | 118208.623 | 44431.9397 | 42306.2362
[20 empty] | 2048 | 128729.1904 | 44431.9397 | 42306.2362
[20 empty] | 2049 | 140186.0884 | 62577.8999 | 29545.3269
[20 empty] | 2050 | 152662.6502 | 62577.8999 | 29545.3269